## Slide 1
RVC Series
3D Area Scanner
RVC-G series
www.rvbust.com
Intelligent Hand-eye Expert

## Slide 2
RVC-G31800
Medium field of view
3D Area Scanner
RVC-G31800 medium field of view 3D area scanner, with high precision, high protection, excellent resistance to ambient light performance, can be complex structure, tightly stacked, disorderly stacking of various types of objects to take pictures and output a complete, accurate, high-quality 3D point cloud data, to meet the needs of various types of material sorting, loading and unloading and other visual guidance, is widely used in automotive manufacturing, logistics, electronics, heavy machinery, food, home appliances and other fields.
Professional 3D area scanner built for craftsmanship
High-strength carbon fiber fuselage for all-around protection
High strength carbon fiber body design
IP65 rated protection
Compact design
Stable performance
Lighter weight
sales@rvbust.com
www.rvbust.com
400 - 0419 - 900
Laser Projection
Sharper Imaging
Good stability and higher protection
Equipped with High resolution lens
Fan-free cooling design
Improve point cloud quality
Intelligent Hand-eye Expert
Waterproof level greatly improved
Dust proof level greatly improved
Passed professional vibration test
Gigabit Ethernet port data transfer

## Slide 3
Product reference data | 
model | RVC-G31800
Minimum shooting time (sec / frame) | 1.2
Resolution (MP) | 3.2
Operating distance range (mm) | 750~1500
Near Field of View (FOV) (mm) | 800*650@750
Far Field of View (FOV) (mm) | 1800*1220@1500
XY direction resolution (mm) | 0.5~1.3
Z-axis single-point repetition accuracy (mm) | 0.05~0.2
Repeat accuracy of the Z-axis region (mm) | 0.016~0.037
illuminant source | Laser
Communication interface | Gigabit Ethernet
Camera weight (kg) | 2.2
Camera size (mm) | 530*130*67
Operating voltage / current | DC 24V/3.75A
Levels of protection | IP65
Operating temperature (°C) | 0~45
Operating Humidity (RH) | 20~80% (no condensation)
Standard fitting | Power supply adapter, power supply cord, data cable
Whether the third-party development is supported | yes
Supported development language | C/C++/C#/Python
Supported development platform | Linux/Windows
Adapt to the third-party software library | Halcon/OpenCV/Open3D/PCL/VisionPro
Body B-pillar workpiece point cloud
Aluminum corner piece point cloud
Professional 3D area scanner built for craftsmanship
Anti ambient light interference
Professional optical system design, self-developed point cloud reconstruction algorithm, greatly improving the ability to resist ambient light interference.
Higher precision
With laser projection technology, the point cloud quality is higher and the accuracy is up to 0.05mm.
Core Advantages
Point cloud display
sales@rvbust.com
www.rvbust.com
400 - 0419 - 900
1800mm
1220mm
800mm
650mm
1500mm
750mm
Intelligent Hand-eye Expert

## Slide 4
RVC-G33500
Large Field of View
3D Area Scanner
RVC-G33500 3D area scanner with large field of view, 3.5×2.4@3m large field of view, 1.8m large depth of field, sub-millimeter accuracy, IP65 protection, excellent ambient light resistance. It can quickly measure all kinds of objects such as closely stacked and disorderly placed cartons, sacks, steel workpieces, etc. and output comple-te, accurate and high-quality 3D point cloud data. RVC-G33500 is widely used in logistics, express delivery, heavy machinery and other typical depalletizing and handling scenarios.
Professional 3D area scanner built for craftsmanship
sales@rvbust.com
www.rvbust.com
400 - 0419 - 900
Intelligent Hand-eye Expert
Waterproof level greatly improved
Dust proof level greatly improved
Passed professional vibration test
Gigabit Ethernet port data transfer
High-strength carbon fiber fuselage for all-around protection
High strength carbon fiber body design
IP65 rated protection
Compact design
Stable performance
Lighter weight
Laser Projection
Sharper Imaging
Good stability and higher protection
Equipped with High resolution lens
Fan-free cooling design
Improve point cloud quality

## Slide 5
Product reference data | 
model | RVC-G33500
Minimum shooting time (sec / frame) | 1.4
Resolution (MP) | 3.2
Operating distance range (mm) | 1200~3000
Near field of view (FOV) (mm) | 1200*1000@1200
Far field of view (FOV) (mm) | 3500*2400@3000
XY directional resolution (mm) | 0.8~1.82
Z-axis single-point repetition accuracy (mm) | 0.06~0.88
Repeat accuracy of the Z-axis region (mm) | 0.01~0.25
illuminant source | Laser
Communication interface | Gigabit Ethernet
Camera weight (kg) | 2.5
Camera size (mm) | 940*130*67
Operating voltage / current | DC 24V/3.75A
Levels of protection | IP65
Operating temperature (°C) | 0~45
Operating Humidity (% RH) | 20~80 (no condensation)
Standard fitting | Power supply adapter, power supply cord, data cable
Whether the third-party development is supported | yes
Supported development language | C/C++/C#/Python
Supported development platform | Linux/Windows
Adapt to the third-party software library | Halcon/OpenCV/Open3D/PCL/VisionPro
highly accurate
With laser projection technology, the point cloud quality is higher, and the accuracy is up to 0.06mm.
large field of view
3.5×2.4@3m large field of view, 1.8 meters large depth of field, to meet the application of long-distance large field of view.
Professional 3D area scanner built for craftsmanship
Core Advantages
Point cloud display
sales@rvbust.com
www.rvbust.com
400 - 0419 - 900
Various carton
point clouds
Large vehicle body parts
point cloud
1200mm
3500mm
Softpack
point cloud
1000mm
2400mm
3000mm
1200mm
Intelligent Hand-eye Expert
Anti ambient light interference
Professional optical system design, self-developed point cloud reconstruction algorithm, greatly impro-ving the ability to resist ambient light interference.
light weight
High-strength carbon fiber body design, the camera is only 2.5kg, more flexible installation environment.